## Slide 1
1. the function rs_2Dv
>> x=0;
>> z=linspace(5,200,500);
>> f=5;
>> c=1500;
>> b=6.35/2;
>> p=rs_2Dv(b,f,c,0,x,z);
>> plot(z, abs(p))
on-axis pressure calculation for a single large element, similar to Fig. 2.5 (d)
Examples of the use of the primary MATLAB functions and scripts

## Slide 2
>> x=linspace(-10, 10, 200);
>> z=linspace(1, 20, 200);
>> [xx, zz] = meshgrid(x,z);
>> f=5;
>> c= 1500;
>> b =1;
>> p=rs_2Dv(b,f,c,0,xx,zz);
>> imagesc(x, z,abs(p))
image calculation similar to Fig. 2.4 (c)

## Slide 3
2. the function ls_2Dv
>> b=3;
>> f=5;
>> c=1500;
>> x = 0;
>> z=linspace(5,80,200);
>> p =ls_2Dv(b,f,c,0,x,z);
>> plot(z, abs(p))
on-axis pressure calculation for a single, large element similar to Fig 2.10 (b) using a default segment size = 1/10 wave length
using 20 segments (segment size = one wave length)
>> p =ls_2Dv(b,f,c,0,x,z, 20);
>> plot(z, abs(p))

## Slide 4
3. the function ls_2Dint
pressure across a water-"steel" interface (fluid-fluid model) for a single element oriented to produce a 45 degree transmitted wave in the “steel”, similar to Fig. 2.17,
>> b=3;
>> f=5;
>> mat=[1 1480 7.9 5900];
>> angt = 10.217;
>> Dt0= 50.8;
>> x=linspace(0,25, 200);
>> z=linspace(1,25, 200);
>> [xx, zz] = meshgrid(x,z);
>> p = ls_2Dint(b, f, mat, 0, angt, Dt0, xx, zz);
>> imagesc(x,z,abs(p))

## Slide 5
4. the function Fresnel_2D
calculation of the cross-axis wave field for a single large element with a Fresnel
integral model , similar to Fig. 3.2 (b)
>> b=6;
>> f=5;
>> c=1500;
>> z=60;
>> x=linspace(-10,10,200);
>> p=Fresnel_2D(b,f,c,x,z);
>> plot(x, abs(p))

## Slide 6
5. the function on_axis_foc2D
calculation of the on-axis pressure of a focused single large element, similar to Fig. 3.7
>> b=6;
>> R=100;
>> f = 5;
>> c=1480;
>> z=linspace(20,400, 500);
>> p=on_axis_foc2D(b,R,f,c,z);
>> plot(z, abs(p))

## Slide 7
6. the function Gauss_2D
>> b=6;
>> f=5;
>> c=1500;
>> z=60;
>> x=linspace(-10,10,200);
>> p=Fresnel_2D(b,f,c,x,z);
>> plot(x,abs(p))
>> hold on
>> x=linspace(-10,10, 40);
>> p2=Gauss_2D(b,f,c,x,z);
>> plot(x, abs(p2), 'o')
>> hold off
calculation of the cross-axis wave field of a single large element using both the Fresnel integral model and a multi-Gaussian beam model, similar to Fig 3.14

## Slide 8
7. the function delay_laws2D
>> M=16;
>> s=0.5;
>> Phi =30;
>> F=inf;
>> c=1480;
>> td=delay_laws2D(M,s,Phi,F,c);
>> stem(td)
calculation of a steering only delay law, similar to Fig. 4.10 (a)
calculation of a focusing only law,
similar to Fig. 4.10 (b)
>> M=16;
>> s=0.5;
>> Phi =0;
>> F=15;
>> c=1480;
>> td=delay_laws2D(M, s, Phi, F, c);
>> stem(td)

## Slide 9
8. the function discrete_windows
calculation of the apodization values for a Blackman window, similar to Fig. 4.12
>> M=16;
>> type = 'Blk';
>> amp=discrete_windows(M,type);
>> stem(amp)

## Slide 10
% script mls_array_modeling
clear
% give input parameters
f= 5; % frequency (MHz)
c=1480; % wavespeed (m/sec)
M =32; % number of elements
dl =0.5; % element length, d, divided by wave length
gd =0.1; % gap betweeen elements, g, divided by d
Phi =20.; % steering angle, degrees
F = inf; % focal length (mm) F=inf for no focusing
type ='rect'; % type of amplitude weighting function
%calculate size of array, A, element length, d, gap size, g,
% and location of element centroids, e.
[A, d, g, e] = elements(f, c, dl, gd, M);
b=d/2;
s=d+g;
9. the script mls_array_modeling
Calculation of the wave field of a 32 element array radiating into water at 5 MHz, with steering to 20 degrees, no focusing, similar to Fig. 4.15
… continued
script used:

## Slide 11
% generate 2-D area for field calculations
z= linspace(1, 100*dl, 500);
x=linspace(-50*dl,50*dl,500);
[xx,zz]=meshgrid(x,z);
% generate time delays, put in exponential
% and calculate amplitude weights
td =delay_laws2D(M,s,Phi,F,c);
delay = exp(1i.*2.*pi.*f.*td);
Ct=discrete_windows(M,type);
% generate normalized pressure wave field
p = 0;
for mm = 1:M
p=p + Ct(mm).*delay(mm).*ls_2Dv(b, f, c, e(mm), xx, zz);
end
% generate wave field image
imagesc(x, z, abs(p))
xlabel( ' x , mm')
ylabel( ' z , mm')
>> mls_array_modeling

## Slide 12
10. the script mls_array-modeling_Gauss
this is the same script as in the previous example but with the
multiple line source model ls_2Dv replaced with the non-paraxial
multi-Gaussian beam model NPGauss_2D
% script mls_array_modeling_Gauss
clear
% give input parameters
f= 5; % frequency (MHz)
c=1480; % wavespeed (m/sec)
M =32; % number of elements
dl =0.5; % element length, d, divided by wave length
gd =0.1; % gap betweeen elements, g, divided by d
Phi =20.; % steering angle, degrees
F = inf; % focal length (mm) F=inf for no focusing
type ='rect'; % type of amplitude weighting function
%calculate size of array, A, element length, d, gap size, g,
% and location of element centroids, e.
[A, d, g, e] = elements(f, c, dl, gd, M);
b=d/2;
s=d+g;
% generate 2-D area for field calculations
z= linspace(1, 100*dl, 500);
x=linspace(-50*dl,50*dl,500);
[xx,zz]=meshgrid(x,z);
.. continued

## Slide 13
% generate time delays, put in exponential
% and calculate amplitude weights
td =delay_laws2D(M,s,Phi,F,c);
delay = exp(1i.*2.*pi.*f.*td);
Ct=discrete_windows(M,type);
% generate normalized pressure wave field
p = 0;
for mm = 1:M
p=p + Ct(mm).*delay(mm).*NPGauss_2D(b, f, c, e(mm), xx, zz);
end
% generate wave field image
imagesc(x, z, abs(p))
xlabel( ' x , mm')
ylabel( ' z , mm')
>> mls_array_modeling_Gauss

## Slide 14
11. the script mls_array_model_int
calculation of the wave field of a 32 element array that is steered and focused across a water-"steel" interface (fluid-fluid model) , similar to the case considered in Fig. 4.22
% script mls_array_model_int
% This script solves for the normalized pressure wave field of
% an array of 1-D elements radiating waves through a fluid/fluid
% interface using the MATLAB function ls_2D_int. Both time delay
% and apodization laws can be specified for the array to steer
% it and focus it in the second medium.
clear
% ------------give input parameters ------------------
f = 5; % frequency (MHz)
d1 = 1.0; % density gm/cm^3 of first medium
c1= 1480; % wavespeed (m/sec) of first medium
d2 = 7.9; % density gm/cm^3 of second medium
c2 = 5900; % wavespeed (m/sec) of second medium
M =32; % number of elements
d = 0.25; % element length (mm)
g = 0.05; % gap length (mm)
angt = 0; % angle of array
ang20 = 30.0; % steering angle, degrees in second medium
DF = 8; % focal depth (mm) DF = inf for no focusing
DT0 = 25.4 ; % distance of array from interface (mm). It must be >0
type ='rect'; % type of amplitude weighting function
.. continued
script used:

## Slide 15
% generate 2-D area in second medium for field calculations or replace
% with other specifications for x and z, where z is measured from the
% interface into the second medium and must be >0.
x = linspace(-5, 15, 200);
z = linspace(1,20,200);
[xx,zz]=meshgrid(x,z);
% ------------- end of input parameters --------------------
b = d/2; % element half length
s = d + g; % pitch of the array
mat = [ d1 c1 d2 c2]; % material properties
% calculate distances to element centers
for mm = 1:M
e(mm) = s*((2*mm-1)/2 -M/2);
end
% generate time delays, put in exponential
% and calculate amplitude weights
td =delay_laws2D_int(M,s,angt, ang20, DT0, DF, c1, c2, 'n');
delay = exp(1i.*2.*pi.*f.*td);
Ct=discrete_windows(M,type);
… continued

## Slide 16
% generate normalized pressure wave field
p = 0;
for mm = 1:M
p=p + Ct(mm).*delay(mm).*ls_2Dint(b, f, mat, e(mm), angt,DT0,xx, zz, 1);
end
% ------------ outputs -----------------
% generate wave field image from x,z specifications. This must be changed
% if (x,z) input secifications are changed.
imagesc(x, z, abs(p))
xlabel( ' x , mm')
ylabel( ' z , mm')
>> mls_array_model_int

## Slide 17
12. the function delay_laws2d_int
calculation of delay laws for 2-D steering and focusing across a plane interface, similar to Fig 5.6
>> M=16;
>> s=0.5;
>> angt =5;
>> ang20=60;
>> Dt0 = 10;
>> Df =10;
>> c1=1480;
>> c2=5900;
>> td=delay_laws2D_int(M,s,angt,ang20,Dt0, Df, c1, c2, 'y');
>> stem(td)

## Slide 18
13. the function ps_3Dv
calculation of the on-axis pressure for a single large element, similar to Fig. 6.5
>> lx =6;
>> ly =12;
>> f=5;
>> c=1480;
>> z=linspace(5,100,400);
>> p =ps_3Dv(lx,ly,f,c,0,0,0,0,z);
>> plot(z, abs(p))

## Slide 19
14. the function ps_3Dint
calculation of the magnitude of the velocity image for a single large element radiating across a plane fluid-steel interface, similar to Fig. 6.14 . (note the calculation time is approximately 7-8 minutes because of the large number of element segments (approx 800) and large number of image points (10,000)
>> lx =6;
>> ly=12;
>> f=5;
>> mat =[1 1480 7.9 5900 3200 'p'];
>> angt =10.217;
>> Dt0 =50.8;
>> x=linspace(0, 30, 100);
>> z=linspace(1, 20, 100);
>> y=0;
>> [xx,zz] =meshgrid(x,z);
>> [vx, vy, vz] = ps_3Dint(lx,ly,f,mat,0,0,angt, Dt0,xx,y,zz);
>> v=sqrt( (abs(vx)).^2 + (abs(vy)).^2 + (abs(vz)).^2);
>> imagesc(x,z,v)

## Slide 20
15. the script mps_array_modeling
calculation of the wave field of a steered (not focused) 11x11 array radiating into water, similar to Fig. 7.11
% script mps_array_modeling
% This script solves for the normalized pressure wave field of a 2-D
% array of rectangular elements radiating waves in a fluid using the
% MATLAB function ps_3Dv. Both time delay and apodization laws can
% be specified for the array to steer it and focus it.
clear
% ------------- give input parameters -------------------------
lx = 0.15; % element length in x-direction (mm)
ly = 0.15; % element length in y-direction (mm)
gx=0.05; % gap length in x-direction (mm)
gy = 0.05; % gap length in y-direction (mm)
f= 5; % frequency (MHz)
c = 1480; % wave speed (m/sec)
L1 =11; % number of elements in x-direction
L2 =11; % number of elements in y-direction
theta =20; % steering angle in theta direction (deg)
phi =0; %steering angle in phi direction (deg)
Fl = inf; % focal distance (mm)
%weighting choices are 'rect','cos', 'Han', 'Ham', 'Blk', 'tri'
ampx_type ='rect'; % weighting coeffcients in x-direction
ampy_type ='rect'; % weighting coefficients in y-direction
… continued

## Slide 21
% calculate array pitches
sx = lx+gx;
sy = ly+gy;
% compute centroid locations for the elements
Nx = 1:L1;
Ny = 1:L2;
ex =(2*Nx -1-L1)*(sx/2);
ey =(2*Ny -1 -L2)*(sy/2);
% generate time delays, put in exponential
% and calculate amplitude weights
td =delay_laws3D(L1,L2,sx,sy,theta,phi,Fl,c);
delay = exp(1i.*2.*pi.*f.*td);
Cx = discrete_windows(L1,ampx_type);
Cy = discrete_windows(L2,ampy_type);
% field points (x,y,z)to evaluate
xs= linspace(-15,15, 300);
zs= linspace(1, 20, 200);
y=0;
[x,z]=meshgrid(xs,zs);
% ---------------- end input parameters ----------------------
… continued

## Slide 22
% calculate normalized pressure
p=0;
for nn=1:L1
for ll=1:L2
p = p + Cx(nn)*Cy(ll)*delay(nn,ll)...
*ps_3Dv(lx,ly,f,c,ex(nn),ey(ll),x,y,z);
end
end
% ---------------- outputs --------------------------
%plot results based on specification of (x,y,z) points
imagesc(xs,zs,abs(p))
>> mps_array_modeling

## Slide 23
16. the script mps_array_model_int
calculation of the P-wave field of a 11x11 array radiating through a plane fluid-solid interface, where the array is oriented to produce a 45 degree p-wave with no steering . Here steering only is specified to steer the transmitted wave in the steel to 20 degrees. Similar to Fig. 7.16 (c) . Note that a single point source beam model is used here for each element, resulting in a calculation time of about a minute.
% script mps_array_model_int
% This script solves for the normalized velocity wave field of
% an array of 1-D elements radiating waves through a fluid/solid
% interface using the MATLAB function ps_3Dint. Both time delay
% and apodization laws can be specified for the array to steer
% it and focus it in the solid.
clear
% ------------------input parameters ----------------
tic % time the calculations
lx = 0.15; % element length in x-direction (mm)
ly = 0.15; % element length in y-direction (mm)
gx=0.05; % gap length in x-direction (mm)
gy = 0.05; % gap length in y-direction (mm)
f= 5; % frequency (MHz)
d1=1.0; % density, medium one (arbitrary units)
cp1 = 1480; % compressional wave speed, medium one (m/sec)
d2=7.9; % density, medium two (same arbitrary units)
cp2 =5900; % compressional wave speed, medium two (m/sec)
cs2=3200; % shear wave speed, medium two (m/sec)
type='p'; % wave type, medium two
mat=[d1,cp1,d2,cp2,cs2,type]; % form material vector
… continued

## Slide 24
L1 =11; % number of elements in x-direction
L2 =11; % number of elements in y-direction
angt =10.217; % angle of the array (deg)
Dt0=50.8; % height of array center from interface (mm)
theta2 =20; % steering angle in theta direction (deg)
phi =0; %steering angle in phi direction (deg)
DF = inf; % focal distance (mm)
%weighting choices are 'rect','cos', 'Han', 'Ham', 'Blk', 'tri'
ampx_type ='rect'; % weighting coeffcients in x-direction
ampy_type ='rect'; % weighting coefficients in y-direction
% field points to evaluate
xs= linspace(-5,20, 100);
zs= linspace(1, 20, 100);
y=0;
[x,z]=meshgrid(xs,zs);
% ------------- end input parameters -----------------------
c1=cp1;
if strcmp(type,'p')
c2=cp2;
elseif strcmp(type, 's')
c2=cs2;
else
error('type incorrect')
end
… continued

## Slide 25
% calculate array pitches
sx = lx+gx;
sy = ly+gy;
% compute centroid locations for the elements
Nx = 1:L1;
Ny = 1:L2;
ex =(2*Nx -1-L1)*(sx/2);
ey =(2*Ny -1 -L2)*(sy/2);
% generate time delays, put in exponential
% and calculate amplitude weights
td =delay_laws3Dint(L1,L2,sx,sy,angt,phi,theta2,Dt0,DF,c1,c2,'n');
delay = exp(1i.*2.*pi.*f.*td);
Cx = discrete_windows(L1,ampx_type);
Cy = discrete_windows(L2,ampy_type);
% calculate normalized velocities
vx=0;
vy=0;
vz=0;
for nn=1:L1
for ll=1:L2
[vxe,vye,vze]= ps_3Dint(lx,ly,f,mat,ex(nn),ey(ll),angt,Dt0,x,y,z,1,1);
vx = vx + Cx(nn)*Cy(ll)*delay(nn,ll)*vxe;
vy = vy + Cx(nn)*Cy(ll)*delay(nn,ll)*vye;
vz = vz + Cx(nn)*Cy(ll)*delay(nn,ll)*vze;
end
end
… continued

## Slide 26
% ------------------ outputs --------------------------
%plot results
vmag=sqrt(abs(vx).^2 +abs(vy).^2 +abs(vz).^2);
imagesc(xs,zs,vmag)
toc % end of time calculations
>> mps_array_model_int
Elapsed time is 67.519139 seconds.

## Slide 27
17. the function delay_laws3D
>> M=8;
>> N=16;
>> sx=0.5;
>> sy=0.5;
>> theta= 0;
>> phi =0;
>> Fl= 10;
>> c=1480;
>> td = delay_laws3D(M,N,sx,sy,theta,phi,Fl,c);
>> stem3(td)
>> view (-82,16)
calculation of the time delays for an 8x16 array for focusing only, similar to Fig. 8.5

## Slide 28
18. the function delay_laws3Dint
calculation of the time delays for a 4x4 array radiating through a water-steel interface to steer the beam at a 45 degree angle, similar to Fig. 8.10
>> Mx =4;
>> My=4;
>> sx=0.5;
>> sy=0.5;
>> angt =20;
>> phi=0;
>> theta20 = 45;
>> Dt0 =10;
>> Df =10;
>> c1=1480;
>> c2=5900;
>> td = delay_laws3Dint( Mx,My,sx, sy, angt, phi,theta20,Dt0,Df, c1, c2, 'y');
>> view(25,20)